[image: image1.png]=] HSC_EP_DbIT fl4C.if - Windows Photo Viewer =n b 9|+ Inbox - jose.melchor@ttuhsc.edu - Microsoft Outlook
File ¥ Print ¥ E-mail Bun ¥ Open ¥ (2] Home | Send/Receive Folder ~View Add-Ins  McAfee E-mail Scan  Adobe PDF
= Gugroe 3¢ (0 \Q Y B Meeting |23 projects 3 To Manager ;l N EEAJ Q \ i
i O Y0 g cieanup- - “® - 53 Team Emai ' Done 7 W‘FJ = [ Address Book
New New | Meet Schedule . Delete  Reply Reply Forward M Move Rules OneNote Assign Unread/ Categorize Follow | g Filer E-mail ~
E-mail Ttems~ | Now Meeting ~ &k Al By More - | |53k Reply & Delete & Create New - - Policy~ Read  ~ Up~ NAREARL]
New WebEx Delete Respond Quick Steps Move Tags Find
A Favorites Search Inbox (Ctrl < E ..
carchinbor (€l 2| RE: Golf Cart Training
L nbox (3) Arrange By: Date Newest on top Mancha. Mari
" Mancha, Marina
=3 sentItems [ Thelin,Alison  9:15AM
(5] Deleted Items (2) Updated Agenda for RSC... 9 Mon 2/6/2017 840 AM
Good morning Everyone, #Melchor, Jose
L5 mbox (3) Attached is the updated RSC N
S Agenda for Wednesday's Tose, —
1 mss1 “ | 2] CSHEMA Communications. e
[ N95 Training A Message from CSHEMA C... .Tui]t foll)lm_vi_nfg_ up tol the emalils belgw_. ..Did you end up sending it to Ms. Zen? Ifnot, I can go ahead
> @ Ocaurence Reports <httpy/portalmxlogiccom/ime and submit if it is alright. Please advise.
(21 odor N .
imothy Rei & rom: Vlancha, arina
™ (-4 Timothy Reitz 8:56 AM F Mancha, Mari
(1 personal RE: Bio-Medical Equipment
quip Sent: Monday, January 30, 2017 1:24 PM
e I Mancha, Marina _ 841AM To: Melchor, Jose <jose.melchor @ttuhsc.edu>
[ pictures (e Eelfi E ey Subject: RE: Golf Cart Training
Jose,
@ e
[l T Just following up to the emails B .
| Projects below...Did you end up To confirm, will you send it to Ms. Zen?
@B Purchasing Chemiical Report (-4 Payroll Services—Unanend.ed
Exempt Leave Report Remin. From: Melchor, Jose
[ Radiation Waste 2 Velez, Beatr e, : g
31 Renee With elez, Beatriz Thu 2/2 Sent: Monday, January 30, 2017 11:34 AM
o e e - Laboratory Animal Artce fo To: Mancha, Marina <Marina.Mancha@ttuhsc.edu>
Bick Chacnn = iz":’d“ Chyn""‘:n?"é" 1730 Cc: Shanks, Calvin <calvin.shanks @ttuhsc.edu>; Sanchez, David E <david.e.sanchez@ttuhsc.edu>
) mail ague skt tesing Subject: RE: Golf Cart Training
5] calendar Hello Marina,
(8] comaces Changes are okay. | will make changes to my master copy and submit for approval. Please note that it will take
_ = some time to process through and update policy in our website.
@ = ] Tasts
Jgom@- Thank vou. b
9:15 AM
D (SIS s 7 Unread:3 | This folder is up to date. [] Connected to Microsoft Exchange ||l 8 100%





                   Department of Safety Services

Texas Tech University Health Sciences Center El Paso

Environment of Care (EOC)

Hazardous Materials and Waste Management Plan

Environment of Care (EOC)

Hazardous Materials and Waste Management Plan 

Contents

I. Mission

II. Texas Tech University Health Science Center El Paso (TTUHSCEP) Emergency Telephone Numbers

III. Authority

IV. Responsibilities/Functions

V. Radiation Incident and Decontamination

VI. TTUHSCEP Clinic/Laboratory Infectious, Pathological, Hazardous and Radioactive Waste Streams

VII. Training and Education

VIII. Information Collection and Evaluation System (ICES)

IX. Performance Improvement Indicators

X. Corresponding Policies
Attachment – A   TTUHSC El Paso Building Locations
Texas Tech University Health Sciences Center El Paso

Environment of Care (EOC)

Hazardous Materials and Waste Management Plan
I. Mission

The purpose of this plan is to inform patient care departments within the Texas Tech University Health Science Center El Paso (TTUHSCEP) of the procedures to be followed in the use and disposition of hazardous materials and wastes. 
(Please see Attachment A for locations that need to comply with this Plan)
II. TTUHSCEP Emergency Telephone Numbers

	Department:
	Current Telephone Number:

	Department of Safety Services
	(915)215-4820

	Texas Tech El Paso Police
	(915)215-7111

	City Police Non-Emergency 
	(915)832-4400

	TTUHSCEP Facilities Operations & Maintenance
	(915) 215-4500

	
	

	Police Emergency
	911

	Fire Emergency
	911

	Medical Emergency
	911


III. Authority

Physical Plant Support Services / Safety Services (SS) is responsible to coordinate and implement all policies and procedures related to the development and management of the Hazardous Materials and Waste Management Program. 

For TTUHSCEP Ambulatory Clinics:  the SS reports through the Safety Committee regarding safety issues that affect the ambulatory clinic setting. 

IV. Responsibilities / Functions

The Department of Safety Services shall:

1. Conduct introductory Hazard Communication training sessions; part of the New Employee Safety Orientation Program (NESOP) online training. 

2. Assure that each department using “hazardous” chemicals has current Safety Data Sheets (SDS), either hardbound or through electronic media.  SDS’s can be searched at https://www.osha.gov/chemicaldata/ 
3. Determine whether chemicals used are “hazardous” within the meaning of the definition established by Occupational Safety and Health Administration (OSHA) 1910.1200. C Definitions.
4. Ensure Safety Data Sheets (SDSs) are in compliance with OSHA guidelines. 1910.1200 (g) Safety Data sheets 
5. Assure review and compliance with The Joint Commission standards that require hazardous chemicals be handled safely, and training be conducted. Operations Policy (OP) 75.03  http://elpaso.ttuhsc.edu/opp/_documents/75/op7503.pdf 

6. Provide guidance and assistance in the proper disposition of waste. 

                   http://www.elpaso.ttuhsc.edu/safety/_documents/regulatedwastedisposalmanual.pdf 
Department Managers shall:

1. Assign a Unit Safety Officer (USO) to serve as the point of contact for information and updates.

2. Provide specific training and information on SDS to employees and contractors as required by the standard.

3. Prepare and maintain a chemical inventory.
4. Ensure that SDS is compliant with the current Hazardous Communication Standard.  

5. Conduct internal clinical hazardous communication audits to ensure compliance of standard.  
6. Ensure that SDS is required on all purchase requests for chemicals.

7. Ensure that labeling on containers meets the current OSHA Hazardous Communication Standard. 
8. Have a Clinical Standardized written Hazardous Communication Plan approved by the Clinic Operations Committee.
9. Document relevant employee training conducted within the department. 
10. Ensure that hazards in their department are identified and clearly posted in areas where hazard are present: i.e., compressed gas cylinders storage, asphyxiates, use of microwaves, biohazard storage, etc…
V. Purchasing/Administrative Responsibility

The TTUHSCEP Purchasing Department and ordering department administrators are responsible to ensure that all chemicals purchase orders have the words “SDS REQUIRED” clearly labeled on the purchase request.

VI. Radi
ation Incident and Decontamination see TTUHSCEP “Radiation Safety Manual”  http://www.elpaso.ttuhsc.edu/safety/_documents/RSM%20Appendix%20L%202006.pdf
 
VII. TTUHSCEP Clinic / Laboratory Infectious, Pathological, Hazardous and Radioactive Waste Streams.  (See Attachment A) Prescription Drug Medication Disposal Form, and see policy OP 75.17
http://elpaso.ttuhsc.edu/opp/_documents/75/op7517.pdf 
Disposal of Chemicals form:

http://elpaso.ttuhsc.edu/elpsafetyservices/forms/dispose_chemicals.aspx  

Disposal of Radiation form:
https://ttuhscep.edu/elpsafetyservices/forms/radwaste.aspx
VIII. Training and Education

Introductory Hazard Communication Training is conducted during New Employee Safety Orientation Program (NESOP).  Additional hazard communication training will be scheduled for employees by their supervisor based on the employee’s job function.  This secondary training will provide additional hazard communication elements that will facilitate hazard recognition and understanding in the workplace. 
Department Managers will make Contractors aware of the hazards present in the area(s) where they will be working or performing a service(s).  Measures to protect employees will be discussed during project pre-planning meetings.  Safety Services must be present at all pre-planning meetings. 

IX. Information Collection and Evaluation System (ICES)

A. In the event of a spill involving an employee that results in an exposure, an injury report should be submitted. For a non-employee incident, an occurrence report should be submitted. Because significant spills/exposures are infrequent, all significant spills /exposures are evaluated by Safety Services.  Spill report information is incorporated into the Hazardous Materials and Waste Activities Report that is presented to the campus Institutional Safety Committee.
B. Records of hazardous waste disposal will be maintained to include identification of generator, quantity, type quantity, and disposal action.  Manifests of all commercial vendor disposals will be retained on file. 
X. Performance Improvement Indicator

A. A goal of zero chemical spills and incidents per quarter has been set as the performance indicator. 
B. In the event that a hazardous spill occurs, the incident will be evaluated for appropriate responses by the campus Institutional Safety Committee.   (See Hazardous Materials Incident Policy OP 75.03 for handling procedures.)
XI. Corresponding Policies

	
	Policy
	Link

	Chemicals
	TTUHSCEP

 Regulated Waste Disposal Manual

Laboratory Compliance Manual, Chemical Hygiene Plan (CHP)

Laboratory Compliance Manual, Hazardous Communication


	                   http://www.elpaso.ttuhsc.edu/safety/_documents/regulatedwastedisposalmanual.pdf  

http://www.elpaso.ttuhsc.edu/safety/_documents/Laboratory%20Compliance%20Manual%202016.pdf    

http://www.elpaso.ttuhsc.edu/safety/_documents/Laboratory%20Compliance%20Manual%202016.pdf 

	Handling Spills
	Hazardous Materials Incidents, TTUHSCEP OP 75.03


	http://elpaso.ttuhsc.edu/opp/_documents/75/op7503.pdf 

	Infectious Waste


	Infectious Disease Exposure Program, TTUHSC OP 75.11

Disposal of Biohazards/Infectious Waste, SOM Policy 7.16

TTUHSCEP SOM Policy 7.02


	http://elpaso.ttuhsc.edu/opp/_documents/75/op7511.pdf  

http://elpaso.ttuhsc.edu/opp/_documents/EP-7/ep-7-18.pdf  

http://elpaso.ttuhsc.edu/opp/_documents/EP-7/ep-7-02.pdf  



	Radioactive Materials
	TTUHSCEP Radiation Safety Manual
	http://www.elpaso.ttuhsc.edu/safety/_documents/RSM%20Appendix%20L%202006.pdf  


Clinic/Laboratory Infectious, Patholoical, Hazardous and Radioactive Waste Streams

[image: image1.png][image: image2.png]


[image: image3.jpg]


[image: image4.jpg]


[image: image5.jpg]


[image: image6.jpg]


[image: image7.jpg]


[image: image8.jpg]





Attachment A 

Texas Tech University Health Sciences Center El Paso 

Locations
The following is a list of the locations complying with this Plan:

	Building
	Address
	Location

	Texas Tech Physicians of El Paso
	4801 Alberta Ave
	El Paso, Texas 79905

	Texas Tech Physicians of El Paso at Alameda
	4615 Alameda Ave
	El Paso, Texas 79905

	Texas Tech Physicians of El Paso at Kenworthy
	9849 Kenworthy St.
	El Paso, Texas 79924

	Texas Tech Physicians of El Paso at Mesa
	800 N. Mesa St.
	El Paso, Texas 79902

	Texas Tech Physicians of El Paso at Transmountain
	2000 B Transmountain Rd.
	El Paso, Texas 79911

	Texas Tech Physicians of El Paso Surgical Specialists
	9830 Gateway North Blvd.
	El Paso, Texas 79924

	
	
	

	
	
	

	
	
	


Infectious / Pathological


Material saturated with blood or OPIM


Tissue from surgery, labor & delivery, autopsy, embalming, or biopsy


Body parts


Tissue or fetuses


Bulk Blood


Lab specimens of blood and OPIM


Anatomical remains


Animal Waste





Sharps


Needles (all types)


Syringes


Scalpel blades


Razor blades


Disposable razors, scissors


IV stylets


Pipettes


Specimen tubes


Blood culture bottles


Microscope slides


Broken lab glass


Medication vials





Other Waste


Gloves (Vinyl or latex)


Bandages (unless saturated with blood or OPIM


Diapers


Exam table paper


Sanitary napkins


Disposable speculums


Band-Aids


Disposable gowns and shoe covers


Paper towels 


Paper cups


Casting material


Office records


Food waste





Chemically Hazardous


All Chemical waste, including:


Asphyxiates


Carcinogens


Corrosives


Flammables


Hepatotoxins


Mutagens


Nephrotoxins


Neurotoxins


Poisons


Reactives


Tumorigens


Teratogens





Radioactive 


Waste


All material contaminated with radioactive material, such as:


Gloves


Absorbent pads


Paper towels


Empty vials


Lab ware


Bulk liquid from experiments


Liquid scintillation vials


Animal carcasses





Commercial Vendor





Department of Safety Services





El Paso Landfill





HSC Custodial Services





Department of Safety Services





Prepare request for chemical disposal online on Safety Services webpage or call 215-4820





Collected by Safety Services.  Complete disposal form online or call 215-4966





Scheduled pickup by Custodial Services





Scheduled pickup by Custodial Services or call Safety Services if not scheduled





Scheduled pickup by  Custodial Services or call Safety Services if not scheduled.








Commercial Vendor


Or


Sanitary Sewer





Commercial Vendor








�Need to discuss with Dr. Diaz


�Follow Appendix L


�Appendix L is the Radiation Safety  Manual


� HYPERLINK "https://ttuhscep.edu/safety/radiation.aspx" �Radiation | Texas Tech Health El Paso�





�Need Dr. Diaz input





Environment of Care (EOC) Hazardous Materials and Waste Management Plan
Page 1
(Revised 10/02/2025)  

