[image: image1.png]=] HSC_EP_DbIT fl4C.if - Windows Photo Viewer =n b 9|+ Inbox - jose.melchor@ttuhsc.edu - Microsoft Outlook
File ¥ Print ¥ E-mail Bun ¥ Open ¥ (2] Home | Send/Receive Folder ~View Add-Ins  McAfee E-mail Scan  Adobe PDF
= Gugroe 3¢ (0 \Q Y B Meeting |23 projects 3 To Manager ;l N EEAJ Q \ i
i O Y0 g cieanup- - “® - 53 Team Emai ' Done 7 W‘FJ = [ Address Book
New New | Meet Schedule . Delete  Reply Reply Forward M Move Rules OneNote Assign Unread/ Categorize Follow | g Filer E-mail ~
E-mail Ttems~ | Now Meeting ~ &k Al By More - | |53k Reply & Delete & Create New - - Policy~ Read  ~ Up~ NAREARL]
New WebEx Delete Respond Quick Steps Move Tags Find
A Favorites Search Inbox (Ctrl < E ..
carchinbor (€l 2| RE: Golf Cart Training
L nbox (3) Arrange By: Date Newest on top Mancha. Mari
" Mancha, Marina
=3 sentItems [ Thelin,Alison  9:15AM
(5] Deleted Items (2) Updated Agenda for RSC... 9 Mon 2/6/2017 840 AM
Good morning Everyone, #Melchor, Jose
L5 mbox (3) Attached is the updated RSC N
S Agenda for Wednesday's Tose, —
1 mss1 “ | 2] CSHEMA Communications. e
[ N95 Training A Message from CSHEMA C... .Tui]t foll)lm_vi_nfg_ up tol the emalils belgw_. ..Did you end up sending it to Ms. Zen? Ifnot, I can go ahead
> @ Ocaurence Reports <httpy/portalmxlogiccom/ime and submit if it is alright. Please advise.
(21 odor N .
imothy Rei & rom: Vlancha, arina
™ (-4 Timothy Reitz 8:56 AM F Mancha, Mari
(1 personal RE: Bio-Medical Equipment
quip Sent: Monday, January 30, 2017 1:24 PM
e I Mancha, Marina _ 841AM To: Melchor, Jose <jose.melchor @ttuhsc.edu>
[ pictures (e Eelfi E ey Subject: RE: Golf Cart Training
Jose,
@ e
[l T Just following up to the emails B .
| Projects below...Did you end up To confirm, will you send it to Ms. Zen?
@B Purchasing Chemiical Report (-4 Payroll Services—Unanend.ed
Exempt Leave Report Remin. From: Melchor, Jose
[ Radiation Waste 2 Velez, Beatr e, : g
31 Renee With elez, Beatriz Thu 2/2 Sent: Monday, January 30, 2017 11:34 AM
o e e - Laboratory Animal Artce fo To: Mancha, Marina <Marina.Mancha@ttuhsc.edu>
Bick Chacnn = iz":’d“ Chyn""‘:n?"é" 1730 Cc: Shanks, Calvin <calvin.shanks @ttuhsc.edu>; Sanchez, David E <david.e.sanchez@ttuhsc.edu>
) mail ague skt tesing Subject: RE: Golf Cart Training
5] calendar Hello Marina,
(8] comaces Changes are okay. | will make changes to my master copy and submit for approval. Please note that it will take
_ = some time to process through and update policy in our website.
@ = ] Tasts
Jgom@- Thank vou. b
9:15 AM
D (SIS s 7 Unread:3 | This folder is up to date. [] Connected to Microsoft Exchange ||l 8 100%





                   Department of Safety Services

Texas Tech University Health Sciences Center El Paso
Environment of Care (EOC)

Utility Systems Management Plan

Environment of Care (ECO)

Utility Systems Management Plan
Contents

I. Mission

II. Authority
III. Structure of Facilities & Services
IV. Responsibilities
V. Implementation 

VI. TTUHSCEP Clinic, Laboratory, Infectious, Pathological, Hazardous and Radioactive Waste Streams

VII. Training and Education

VIII. Information Collection and Evaluation System (ICES)

               Attachment – A TTUHSC El Paso Clinical Locations

Texas Tech University Health Sciences Center El Paso 

Environment of Care (EOC)

Utility Systems Management Plan
I.
Mission
The mission of this plan is to promote a safe, controlled, comfortable environment of care that reduces the potential for organizational-acquired illness while assessing and minimizing risks of utility failures to ensure operational reliability of utility systems.
II.
Authority
Facilities & Services (FS) Senior Director is responsible for defining and administrating the Utility Systems Management plan.
III.
Structure of Facilities & Services (FS)
Texas Tech University Health Sciences Center El Paso (TTUHSCEP) Physical Plant is comprised of five departments:
1. Facilities & Services (FS): FS employs skilled and licensed tradesmen for building maintenance and minor Facilities & Services renovations. Participates in plan review of all construction contracts. All Facilities & Services positions are designated as essential/alternate personnel.

a) Environmental Services: FS employs skilled personnel and contracts services to ensure that the building and special services staff is effectively and efficiently providing the custodial services required to support the instructional, research, and public service objectives of the University.

b) Grounds Maintenance: FS employs grounds maintenance personnel to ensure that a safe exterior environment is maintained.
2. Safety Services (SS): Department that plans, implements and administers the TTUHSCEP Safety Programs involving Radiation Safety, Chemical Hazardous Waste, Life and Fire Safety, Indoor Air Quality Investigation, Occupational Safety Accident Investigation, Laboratory Safety, and Safety Education & Training. Assists administrators, deans and department chairs in meeting their assigned health, safety and environmental responsibilities to comply with safety regulations and guidelines and to meet accreditation, research funding agency requirements and provide employees, students and visitors a safe hazard-free environment.
3. Engineering Services (ES): Department responsible of providing technical and managerial expertise to support TTUHSCEP mission by delivering accurate and timely information of the buildings, maximizing the efficiency in the operation of the inventory of building systems and executing projects with quality, on time, within budget and safely. The three core functions of the department include project management, facilities information, and utilities management.
4. Business Services (BS): Department that provides support and oversight of the Physical Plant division’s various business operations. Business Services strives to improve the efficiency and effectiveness of these operations in support of HSC goals. Facilities Services consists of two core functional areas:

a) Finance: Facilities & Services liaison with the central departments of Finance and Administration. Business Services provides analysis and support of Facilities & Services finances.

b) Purchasing: Business Services provides acquisition support via the HSC’s procurement methods including TechBuy orders, P-card, and bidding.

5.  CMMS Administration:  Business Services serves as the administrator of the 


Computer Maintenance Management System (CMMS) for Facilities & Services.
IV. Responsibilities
Facilities & Services is the primary response group for maintenance and operation of mission critical equipment, systems and components. The Sr. Director of FS is responsible for maintaining documentation related to systems reliability and performance. FS utilizes a Computerized Maintenance Management System (CMMS) to record planned and reactive maintenance activities associated with various systems. All technical trades within FS interact to ensure high standards are maintained in the environment of care.
V.  Implementation
FS utilizes an automated preventive maintenance program to generate work orders. The preventive maintenance program in place ensures that mission critical equipment, component and systems are reliable. Tasks and frequencies of the preventive maintenance program are set following manufacturers recommendations and historical PM information of the systems.

FS has various preventative maintenance (PM) contracts in place to service major mechanical, electrical and plumbing systems that service the clinical buildings owned by the Institution.

FS utilizes infrared thermography to identify potential problems in the secondary electrical distribution system. Thermal video imaging is used to record component performance under load conditions. Potential problematic areas are then recorded with recommendations for preventive or corrective action. Corrective actions that require shutting down equipment are properly coordinated with affected users.

FS regulates that use of power strips in patient care vicinity are only used for components of movable electrical equipment used for patient care that have been assembled by qualified personnel.  Power strips will meet UL 1363A or UL60601-1. 

FS maintains emergency power supply that can be utilized for emergency equipment such as; lighting, exit signs, refrigerators and other safety or patient equipment that is identified as emergency equipment.  

FS routinely performs preventive maintenance tasks aimed for testing emergency life safety system. Emergency transfer switches are also load and thermographic tested as detailed above.

FS maintains proper air quality levels by performing scheduled preventive maintenance tasks on all devices and equipment of the HVAC system. The filters of the air terminal units are on a replacement schedule and constantly monitored to maintain the proper air changes.

Natural gas meters and its distribution network are tested/certified on a yearly basis. Pertinent reports are submitted to the City of El Paso. The domestic water, irrigation and fire suppression system back-flow preventers are tested annually with reports sent to the city.

FS has preventive weekly maintenance tasks in place to keep the medical vacuum system operating at optimal conditions.

Facilities & Services installed radio antennas and repeaters on campus to provide reliable communication among the members of the operations’ teams. The radio system is designed as a component of the Campus Emergency Management Plan (EMP). The system provides immediate city-wide communication between essential personnel (Facilities, Safety, Security and Clinical Administration) in the event the emergency operations center is activated.

Facilities & Services utilizes architects, consultants and engineers for the production of construction documents, studies or reports needed to meet institutional objectives for life support, infection control, and environmental support systems. Most building components of mission critical systems are redundantly configured. The department of Information Technology (IT) is tasked with maintaining the network that supports communication equipment.

VI. Training and Education

Facilities & Services Technical Tradesmen participate in continuing education courses and seminars to remain current in the latest technologies, codes and best industry practices in plant maintenance and operation.
Facilities & Services employees participate in prescribed safety programs under the guidance of SS. Consultants and contractors are utilized to provide refresher trainings to FS staff members on likely risks, personal protective equipment (PPE), prevention, protection, exposure, and appropriate responses.
Unplanned utility outages are maintained at a minimum and tracked to continuously improve our operations by learning from unaccounted events. Procedural changes/modifications are communicated to involved parties.
VII. Information Collection & Evaluation System

System performance is monitored in several ways:

1. Annual performance evaluations are conducted for personnel responsible for system maintenance

2. Response is routinely evaluated to ensure appropriate action and communication

3. Customer complaints and kudos are communicated within the group

4. CMMS vibration monitoring, and thermal imaging are utilized to facilitate predictive and planned maintenance activities for critical system components

5. Preventive maintenance tasks are ensured through a quality assurance program that selects equipment items for follow-up inspections based on performance.

6. Reporting and evaluation procedure exercised for system failures

The FS Administrative Staff will accomplish an annual evaluation of this plan to include operational considerations for each utility system. Details are located in FMO Policy A-1.

VIII. Corresponding Policies
Corresponding policies are cross-referenced in the EOC section of the policies matrix. Specific tasks and frequencies for systems preventive maintenance are defined in the FS, CMMS. 

IX. Emergency Generator

FSBS ensures that the emergency generator is operational 24/7 to provide emergency backup to essential medical equipment and refrigerators identified exclusively for medication storage. 

X. Power Strips

The utilization of power strips in patient-care areas is only allowed under the following circumstances; the use will only be permitted in movable electrical equipment only when the assembly of this equipment is performed by qualified personnel. The power strips shall meet UL 1363A or UL 60601-1. 
Attachment – A  
Environment of Care (EOC)

TTUHSC El Paso Building Locations

Texas Tech University Health Sciences Center El Paso 

Locations
The following is a list of the locations complying with this Plan:

	Building
	Address
	Location

	Texas Tech Physicians of El Paso
	4801 Alberta Ave
	El Paso, Texas 79905

	Texas Tech Physicians of El Paso at Alameda
	4615 Alameda Ave
	El Paso, Texas 79905

	Texas Tech Physicians of El Paso at Kenworthy
	9849 Kenworthy St.
	El Paso, Texas 79924

	Texas Tech Physicians of El Paso at Mesa
	800 N. Mesa St.
	El Paso, Texas 79902

	Texas Tech Physicians of El Paso at Transmountain
	2000 B Transmountain Rd.
	El Paso, Texas 79911

	Texas Tech Physicians of El Paso Surgical Specialists
	9830 Gateway North Blvd.
	El Paso, Texas 79924

	
	
	

	
	
	

	
	
	


Environment of Care (EOC) Utility Management Plan
Page 1
(Revised 10 /02 /2025)  

[image: image1.png]